## 60K ID (hidden)
PSYCHROMETRIC CALORIMETER INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | -
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Total Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Air Flow | ㎥/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
60K INDOOR
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 21.44 | 21.45 | 21.45 | 21.45 | 21.44 | 21.44 | 21.43
Entering WB | ℃ | 18.83 | 19.13 | 19 | 18.85 | 18.74 | 18.66 | 18.59
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 20.87 | 20.84 | 20.85 | 20.87 | 20.88 | 20.9 | 20.91
Leaving WB | ℃ | 19.8 | 19.77 | 19.79 | 19.8 | 19.8 | 19.81 | 19.82
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 760.63 | 760.58 | 760.69 | 760.7 | 760.63 | 760.59 | 760.56
Nozzle Inlet Temp. | ℃ | 20.87 | 20.84 | 20.85 | 20.87 | 20.88 | 20.9 | 20.91
Nozzle 100/100/125/125 | - | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/-
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY #1 | [6 empty] | LABELO

## ID 1
PSYCHROMETRIC CALORIMETER INSPECTION DATA | [9 empty] | a
Client |  | LG |  |  | Request No.
Maker |  | LG |  |  | Test Date |  | 2023-07-11
Test Method |  | Cooling |  |  | File Name |  | P-20230711 00-07-54.psy
Rated Capacity |  | 12,000 Btu/h |  |  | ID Model Name |  | Split Hi-Wall
Rated Power |  | 0 W |  |  | ID Serial Number
Power Source |  | 1P2W / 220 V / 60 Hz |  |  | OD Model Name
Observer |  | Bruno Moretti |  |  | OD Serial Number
Refrigerant |  | R410A - g |  |  | Exp. Device
ID Entering DB/WB |  | 27 / 19 ℃ |  |  | OD Entering DB/WB |  | 35 / 24 ℃
- |  |  |  |  | -
Note
LG - 12k - Split - Inverter - Standart - 70057
Test Results |  | Average | 10 min | 20 min | 30 min | 40 min | 50 min | 60 min | --
Total Capacity | Btu/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
EER | Btu/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Total Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Air Flow | m³/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
30K INDOOR
Capacity | Btu/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Air Flow (Lev) | m³/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Entering DB | ℃ | 27 | 27 | 26.99 | 27 | 26.99 | 27 | 27
Entering WB | ℃ | 19 | 19.03 | 18.98 | 19 | 19 | 18.99 | 19.01
Entering RH | % | 46.96 | 47.07 | 46.88 | 46.93 | 46.95 | 46.9 | 47.01
Leaving DB | ℃ | 13.97 | 14 | 13.97 | 13.96 | 13.98 | 13.96 | 13.94
Leaving WB | ℃ | 13.03 | 13.06 | 13.03 | 13.03 | 13.04 | 13.02 | 13
Leaving RH | % | 90.25 | 90.26 | 90.18 | 90.32 | 90.27 | 90.24 | 90.21
Ehthalpy (Ent) | kJ/kg' | 53.791 | 53.869 | 53.726 | 53.777 | 53.782 | 53.759 | 53.832
Enthalpy (Lev) | kJ/kg' | 36.678 | 36.756 | 36.66 | 36.683 | 36.709 | 36.652 | 36.606
Humidity Ratio (Ent) | kg/kg' | 0.010443 | 0.010472 | 0.01042 | 0.010437 | 0.01044 | 0.01043 | 0.010458
Humidity Ratio (Lev) | kg/kg' | 0.008957 | 0.008976 | 0.008949 | 0.008961 | 0.008965 | 0.00895 | 0.008939
Specific Heat (Lev) | kJ/kg'-°C | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0224
Specific Volume (Lev) | ㎥/kg | 0.8244 | 0.8246 | 0.8243 | 0.8243 | 0.8244 | 0.8244 | 0.8244
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 28.32 | 28.29 | 28.29 | 28.33 | 28.34 | 28.35 | 28.33
Heat Leakage | Btu/h | 155.1 | 154.8 | 155 | 155.2 | 155 | 155.2 | 155.4
Drain Weight | kg/h | 1.06 | 1.07 | 1.05 | 1.05 | 1.05 | 1.06 | 1.08
Lantent Heat | Btu/h | 2474.7 | 2489.9 | 2447.6 | 2458.9 | 2457 | 2465.3 | 2529.5
Sensible Heat | Btu/h | 9255.2 | 9231.8 | 9244.6 | 9259.7 | 9249.8 | 9266.4 | 9278.9
Sensible Heat Ratio | % | 78.9 | 78.76 | 79.07 | 79.02 | 79.01 | 78.99 | 78.58
Barometric Pressure | mmHg | 760.63 | 760.58 | 760.69 | 760.7 | 760.63 | 760.59 | 760.56
Nozzle Inlet Temp. | ℃ | 13.97 | 14 | 13.97 | 13.96 | 13.98 | 13.96 | 13.94
Nozzle 50/60/80/100 | - | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/-
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY #1 | [6 empty] | LABELO

## I3 (hidden)
PSYCHROMETRIC CALORIMETER INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | -
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Total Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Air Flow | ㎥/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 3
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle 225/250/300/300/300 | - | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/-
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## I4 (hidden)
PSYCHROMETRIC CALORIMETER INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | -
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Total Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Air Flow | ㎥/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 4
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle 225/250/300/300/300 | - | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/-
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## W1 (hidden)
WATER TO AIR TEST INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | HS Temp/Flow Rate
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Net Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Effective Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 1
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 21.44 | 21.45 | 21.45 | 21.45 | 21.44 | 21.44 | 21.43
Entering WB | ℃ | 18.83 | 19.13 | 19 | 18.85 | 18.74 | 18.66 | 18.59
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 20.87 | 20.84 | 20.85 | 20.87 | 20.88 | 20.9 | 20.91
Leaving WB | ℃ | 19.8 | 19.77 | 19.79 | 19.8 | 19.8 | 19.81 | 19.82
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 760.63 | 760.58 | 760.69 | 760.7 | 760.63 | 760.59 | 760.56
Nozzle Inlet Temp. | ℃ | 20.87 | 20.84 | 20.85 | 20.87 | 20.88 | 20.9 | 20.91
Nozzle 110/140/165/200 | - | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/- | -/-/-/-
HEAT SOURCE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## W2 (hidden)
WATER TO AIR TEST INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | HS Temp/Flow Rate
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Net Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Effective Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 2
Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Air Flow (Lev) | ㎥/min | 9.8 | 9.8 | 9.8 | 9.8 | 9.81 | 9.81 | 9.8
Entering DB | ℃ | 27 | 27 | 26.99 | 27 | 26.99 | 27 | 27
Entering WB | ℃ | 19 | 19.03 | 18.98 | 19 | 19 | 18.99 | 19.01
Entering RH | % | 46.96 | 47.07 | 46.88 | 46.93 | 46.95 | 46.9 | 47.01
Leaving DB | ℃ | 13.97 | 14 | 13.97 | 13.96 | 13.98 | 13.96 | 13.94
Leaving WB | ℃ | 13.03 | 13.06 | 13.03 | 13.03 | 13.04 | 13.02 | 13
Leaving RH | % | 90.25 | 90.26 | 90.18 | 90.32 | 90.27 | 90.24 | 90.21
Ehthalpy (Ent) | kcal/kg' | 53.791 | 53.869 | 53.726 | 53.777 | 53.782 | 53.759 | 53.832
Enthalpy (Lev) | kcal/kg' | 36.678 | 36.756 | 36.66 | 36.683 | 36.709 | 36.652 | 36.606
Humidity Ratio (Ent) | kg/kg' | 0.010443 | 0.010472 | 0.01042 | 0.010437 | 0.01044 | 0.01043 | 0.010458
Humidity Ratio (Lev) | kg/kg' | 0.008957 | 0.008976 | 0.008949 | 0.008961 | 0.008965 | 0.00895 | 0.008939
Specific Heat (Lev) | kcal/kg℃ | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0224
Specific Volume (Lev) | ㎥/kg | 0.8244 | 0.8246 | 0.8243 | 0.8243 | 0.8244 | 0.8244 | 0.8244
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 28.32 | 28.29 | 28.29 | 28.33 | 28.34 | 28.35 | 28.33
Heat Leakage | kcal/h | 155.1 | 154.8 | 155 | 155.2 | 155 | 155.2 | 155.4
Drain Weight | kg/h | 1.06 | 1.07 | 1.05 | 1.05 | 1.05 | 1.06 | 1.08
Lantent Heat | kcal/h | 2474.7 | 2489.9 | 2447.6 | 2458.9 | 2457 | 2465.3 | 2529.5
Sensible Heat | kcal/h | 9255.2 | 9231.8 | 9244.6 | 9259.7 | 9249.8 | 9266.4 | 9278.9
Sensible Heat Ratio | % | 78.9 | 78.76 | 79.07 | 79.02 | 79.01 | 78.99 | 78.58
Barometric Pressure | mmHg | 760.63 | 760.58 | 760.69 | 760.7 | 760.63 | 760.59 | 760.56
Nozzle Inlet Temp. | ℃ | 13.97 | 14 | 13.97 | 13.96 | 13.98 | 13.96 | 13.94
Nozzle 60/80/110/125 | - | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/- | -/O/O/-
HEAT SOURCE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## W3 (hidden)
WATER TO AIR TEST INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | HS Temp/Flow Rate
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Net Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Effective Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 3
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle 225/250/300/300/300 | - | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/- | -/-/-/-/-
HEAT SOURCE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## W4 (hidden)
WATER TO AIR TEST INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
- |  |  |  |  | HS Temp/Flow Rate
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Total Capacity | kcal/h | 11729.9 | 11721.7 | 11692.2 | 11718.5 | 11706.8 | 11731.6 | 11808.4
Total Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Net Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Effective Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR 4
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Flow (Lev) | ㎥/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving DB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving WB | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leaving RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ehthalpy (Ent) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enthalpy (Lev) | kcal/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Ent) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Humidity Ratio (Lev) | kg/kg' | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Heat (Lev) | kcal/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Specific Volume (Lev) | ㎥/kg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Diff. Pressure | mmAq | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lantent Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nozzle 225/250/300/300/300 | - | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/- | -/-/-/-/-/-
HEAT SOURCE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## G (hidden)
WATER TO WATER TEST INSPECTION DATA | [9 empty] | a
Client |  |  |  |  | Request No.
Maker |  |  |  |  | Test Date
Test Method |  |  |  |  | File Name
Rated Capacity |  |  |  |  | ID Model Name
Rated Power |  |  |  |  | ID Serial Number
Power Source |  |  |  |  | OD Model Name
Observer |  |  |  |  | OD Serial Number
Refrigerant |  |  |  |  | Exp. Device
ID Entering DB/WB |  |  |  |  | OD Entering DB/WB
LS Temp/Flow Rate |  |  |  |  | HS Temp/Flow Rate
Note
Test Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
COPc | kcal/hW | 10.761 | 10.74 | 10.725 | 10.75 | 10.742 | 10.768 | 10.842
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Heat Balance | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balance Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Ratio | % | 97.75 | 97.68 | 97.44 | 97.65 | 97.56 | 97.76 | 98.4
Effective Power Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
COPc Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Total Current Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input | W | 1090 | 1091.4 | 1090.2 | 1090.1 | 1089.8 | 1089.5 | 1089.1
Voltage | V | 220 | 220 | 220 | 220 | 220 | 220 | 220
Current | A | 6.1 | 6.11 | 6.11 | 6.11 | 6.1 | 6.1 | 6.1
Frequency | Hz | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99 | 59.99
Power Factor | % | 81.18 | 81.17 | 81.18 | 81.18 | 81.18 | 81.18 | 81.18
INDOOR
Entering DB | ℃ | 21.44 | 21.45 | 21.45 | 21.45 | 21.44 | 21.44 | 21.43
Entering WB | ℃ | 18.83 | 19.13 | 19 | 18.85 | 18.74 | 18.66 | 18.59
Entering RH | % | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barometric Pressure | mmHg | 760.63 | 760.58 | 760.69 | 760.7 | 760.63 | 760.59 | 760.56
OUTDOOR
Entering DB | ℃ | 34.99 | 35 | 34.99 | 34.99 | 35 | 35 | 34.99
Entering WB | ℃ | 23.99 | 23.99 | 23.98 | 23.98 | 23.99 | 23.99 | 23.99
Entering RH | % | 40.25 | 40.24 | 40.24 | 40.23 | 40.26 | 40.27 | 40.26
Entering Dew Point | ℃ | 19.76 | 19.78 | 19.77 | 19.76 | 19.76 | 19.75 | 19.73
LOAD SIDE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
HEAT SOURCE
Net Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity | kcal/h | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Flow Rate | L/min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Inlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Outlet Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Average Temp. | ℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Density | kg/㎥ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Specific Heat | kJ/kg℃ | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Diff. Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Power | W | 0 | 0 | 0 | 0 | 0 | 0 | 0
PRESSURE
Pressure 1 | bar | -0.68 | -0.68 | -0.67 | -0.68 | -0.68 | -0.67 | -0.68
Pressure 2 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 3 | bar | -999 | -999 | -999 | -999 | -999 | -999 | -999
Pressure 4 | bar | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04
PSY - MULTI | [6 empty] | LABELO

## TC-60K ID (hidden)
THERMOCOUPLE INSPECTION DATA SHEET | [9 empty] | a
Test Results |  | Average | 10 min | 20 min | 30 min | 40 min | 50 min | 60 min | --
60K INDOOR - TC
01: | ℃ | -- | -- | -- | -- | -- | -- | --
02: | ℃ | -- | -- | -- | -- | -- | -- | --
03: | ℃ | -- | -- | -- | -- | -- | -- | --
04: | ℃ | -- | -- | -- | -- | -- | -- | --
05: | ℃ | -- | -- | -- | -- | -- | -- | --
06: | ℃ | -- | -- | -- | -- | -- | -- | --
07: | ℃ | -- | -- | -- | -- | -- | -- | --
08: | ℃ | -- | -- | -- | -- | -- | -- | --
09: | ℃ | -- | -- | -- | -- | -- | -- | --
10: | ℃ | -- | -- | -- | -- | -- | -- | --
11: | ℃ | -- | -- | -- | -- | -- | -- | --
12: | ℃ | -- | -- | -- | -- | -- | -- | --
13: | ℃ | -- | -- | -- | -- | -- | -- | --
14: | ℃ | -- | -- | -- | -- | -- | -- | --
15: | ℃ | -- | -- | -- | -- | -- | -- | --
16: | ℃ | -- | -- | -- | -- | -- | -- | --
17: | ℃ | -- | -- | -- | -- | -- | -- | --
18: | ℃ | -- | -- | -- | -- | -- | -- | --
19: | ℃ | -- | -- | -- | -- | -- | -- | --
20: | ℃ | -- | -- | -- | -- | -- | -- | --
21: | ℃ | -- | -- | -- | -- | -- | -- | --
22: | ℃ | -- | -- | -- | -- | -- | -- | --
23: | ℃ | -- | -- | -- | -- | -- | -- | --
24: | ℃ | -- | -- | -- | -- | -- | -- | --
25: | ℃ | -- | -- | -- | -- | -- | -- | --
26: | ℃ | -- | -- | -- | -- | -- | -- | --
27: | ℃ | -- | -- | -- | -- | -- | -- | --
28: | ℃ | -- | -- | -- | -- | -- | -- | --
29: | ℃ | -- | -- | -- | -- | -- | -- | --
30: | ℃ | -- | -- | -- | -- | -- | -- | --
PSY #1 | [6 empty] | LABELO

## TC-30K ID
THERMOCOUPLE INSPECTION DATA SHEET | [9 empty] | a
Test Results |  | Average | 10 min | 20 min | 30 min | 40 min | 50 min | 60 min | --
30K INDOOR - TC
01: | ℃ | -- | -- | -- | -- | -- | -- | --
02: | ℃ | -- | -- | -- | -- | -- | -- | --
03: | ℃ | -- | -- | -- | -- | -- | -- | --
04: | ℃ | -- | -- | -- | -- | -- | -- | --
05: | ℃ | -- | -- | -- | -- | -- | -- | --
06: | ℃ | -- | -- | -- | -- | -- | -- | --
07: | ℃ | -- | -- | -- | -- | -- | -- | --
08: | ℃ | -- | -- | -- | -- | -- | -- | --
09: | ℃ | -- | -- | -- | -- | -- | -- | --
10: | ℃ | -- | -- | -- | -- | -- | -- | --
11: | ℃ | -- | -- | -- | -- | -- | -- | --
12: | ℃ | -- | -- | -- | -- | -- | -- | --
13: | ℃ | -- | -- | -- | -- | -- | -- | --
14: | ℃ | -- | -- | -- | -- | -- | -- | --
15: | ℃ | -- | -- | -- | -- | -- | -- | --
16: | ℃ | -- | -- | -- | -- | -- | -- | --
17: | ℃ | -- | -- | -- | -- | -- | -- | --
18: | ℃ | -- | -- | -- | -- | -- | -- | --
19: | ℃ | -- | -- | -- | -- | -- | -- | --
20: | ℃ | -- | -- | -- | -- | -- | -- | --
21: | ℃ | -- | -- | -- | -- | -- | -- | --
22: | ℃ | -- | -- | -- | -- | -- | -- | --
23: | ℃ | -- | -- | -- | -- | -- | -- | --
24: | ℃ | -- | -- | -- | -- | -- | -- | --
25: | ℃ | -- | -- | -- | -- | -- | -- | --
26: | ℃ | -- | -- | -- | -- | -- | -- | --
27: | ℃ | -- | -- | -- | -- | -- | -- | --
28: | ℃ | -- | -- | -- | -- | -- | -- | --
29: | ℃ | -- | -- | -- | -- | -- | -- | --
30: | ℃ | -- | -- | -- | -- | -- | -- | --
PSY #1 | [6 empty] | LABELO

## TC-60K OD
THERMOCOUPLE INSPECTION DATA SHEET | [9 empty] | a
Test Results |  | Average | 10 min | 20 min | 30 min | 40 min | 50 min | 60 min | --
60K OUTDOOR - TC
01: | ℃ | -- | -- | -- | -- | -- | -- | --
02: | ℃ | -- | -- | -- | -- | -- | -- | --
03: | ℃ | -- | -- | -- | -- | -- | -- | --
04: | ℃ | -- | -- | -- | -- | -- | -- | --
05: | ℃ | -- | -- | -- | -- | -- | -- | --
06: | ℃ | -- | -- | -- | -- | -- | -- | --
07: | ℃ | -- | -- | -- | -- | -- | -- | --
08: | ℃ | -- | -- | -- | -- | -- | -- | --
09: | ℃ | -- | -- | -- | -- | -- | -- | --
10: | ℃ | -- | -- | -- | -- | -- | -- | --
11: | ℃ | -- | -- | -- | -- | -- | -- | --
12: | ℃ | -- | -- | -- | -- | -- | -- | --
13: | ℃ | -- | -- | -- | -- | -- | -- | --
14: | ℃ | -- | -- | -- | -- | -- | -- | --
15: | ℃ | -- | -- | -- | -- | -- | -- | --
16: | ℃ | -- | -- | -- | -- | -- | -- | --
17: | ℃ | -- | -- | -- | -- | -- | -- | --
18: | ℃ | -- | -- | -- | -- | -- | -- | --
19: | ℃ | -- | -- | -- | -- | -- | -- | --
20: | ℃ | -- | -- | -- | -- | -- | -- | --
21: | ℃ | -- | -- | -- | -- | -- | -- | --
22: | ℃ | -- | -- | -- | -- | -- | -- | --
23: | ℃ | -- | -- | -- | -- | -- | -- | --
24: | ℃ | -- | -- | -- | -- | -- | -- | --
25: | ℃ | -- | -- | -- | -- | -- | -- | --
26: | ℃ | -- | -- | -- | -- | -- | -- | --
27: | ℃ | -- | -- | -- | -- | -- | -- | --
28: | ℃ | -- | -- | -- | -- | -- | -- | --
29: | ℃ | -- | -- | -- | -- | -- | -- | --
30: | ℃ | -- | -- | -- | -- | -- | -- | --
PSY #1 | [6 empty] | LABELO

## Unc_60K (C) (hidden)
■ Uncertainty Analysis
Application No.
Model Name
Test Date
Test Time
Operator
Uncertainty |  | ISO/TS 16491:2012
Expanded uncertainty
Relative expanded uncertainty
Coverage factor |  | k = 2
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Airflow | qvi | m3/s |  | 2
Specific enthalpy of air entering the indoor side | ha1 | J/kg |  | 2
Specific enthalpy of air leaving the indoor side | ha2 | J/kg |  | 2
Air dry bulb temperature | T | K |  | 2
Atmospheric pressure | p | Pa |  | 2
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa |  | 2
Indirect contribution | C1 | W |  | 1
Relative combined standard uncertainty
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2
TEQP-26-07-3 | LABELO BRAZIL |  |  |  | A4(210mm*297mm)

## Unc_60K (H) (hidden)
■ Uncertainty Analysis
Application No.
Model Name
Test Date
Test Time
Operator
Uncertainty |  | ISO/TS 16491:2012
Expanded uncertainty
Relative expanded uncertainty
Coverage factor |  | k = 2
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Indoor air volume flow rate | qvi | m3/s |  | 2
Specific heat of moist air entering the indoor side | Cpa2 | J/kg℃ |  | 2
Temperature of air leaving the indoor side, drybulb | ta2 | ℃ |  | 2
Specific heat of moist air entering the indoor side | Cpa1 | J/kg℃ |  | 2
Temperature of air entering the indoor side, dry bulb | ta1 | ℃ |  | 2
Air dry bulb temperature | T | K |  | 2
Atmospheric pressure | p | Pa |  | 2
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa |  | 2
Indirect contribution | Ci | W |  | 1
Relative combined standard uncertainty
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2
TEQP-26-07-3 | LABELO BRAZIL |  |  |  | A4(210mm*297mm)

## Unc_30K (C)
■ Uncertainty Analysis
Application No.
Model Name
Test Date |  | 2023-07-11 02:20
Test Time |  | 2:12
Operator |  | Bruno Moretti
Uncertainty |  | ISO/TS 16491:2012
Expanded uncertainty |  | 8.1%
Relative expanded uncertainty |  | 0.06%
Coverage factor |  | k = 2
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Airflow | qvi | m3/s | 0.008 | 2 | 2.4
Specific enthalpy of air entering the indoor side | ha1 | J/kg | 806.9 | 2 | 2.36
Specific enthalpy of air leaving the indoor side | ha2 | J/kg | 550.2 | 2 | 1.61
Air dry bulb temperature | T | K | 0.2 | 2 | 0.03
Atmospheric pressure | p | Pa | 1014.09 | 2 | 0.51
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa | 34.5 | 2 | 0.02
Indirect contribution | C1 | W | 175.9 | 1 | 1.5
Relative combined standard uncertainty |  |  |  |  | 4.05
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2 |  |  |  |  | 8.1 (0.06 %)
TEQP-26-07-3 | LABELO BRAZIL |  |  |  | A4(210mm*297mm)

## Unc_30K (H) (hidden)
■ Uncertainty Analysis
Application No.
Model Name
Test Date
Test Time
Operator
Uncertainty |  | ISO/TS 16491:2012
Expanded uncertainty
Relative expanded uncertainty
Coverage factor |  | k = 2
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Indoor air volume flow rate | qvi | m3/s |  | 2
Specific heat of moist air entering the indoor side | Cpa2 | J/kg℃ |  | 2
Temperature of air leaving the indoor side, drybulb | ta2 | ℃ |  | 2
Specific heat of moist air entering the indoor side | Cpa1 | J/kg℃ |  | 2
Temperature of air entering the indoor side, dry bulb | ta1 | ℃ |  | 2
Air dry bulb temperature | T | K |  | 2
Atmospheric pressure | p | Pa |  | 2
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa |  | 2
Indirect contribution | Ci | W |  | 1
Relative combined standard uncertainty
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2
TEQP-26-07-3 | LABELO BRAZIL |  |  |  | A4(210mm*297mm)